## Hoja1
Apoyo | Coordenada en X | Coordenada en Y | Vano | Flecha
AP-129 | 0 | 371 |  | 0
AP-130 | 26.2 | 371 | 26.2 | 0.1524
AP-131 | 148 | 371 | 121.8 | 2.1693
AP-132 | 222 | 371 | 74 | 0.77434
AP-133 | 338 | 372 | 116 | 2.1693
AP-134 | 426 | 374 | 88 | 1.2501
AP-135 | 547 | 377 | 121 | 2.1693
AP-136 | 660 | 378 | 113 | 1.8353
AP-137 | 772 | 378 | 112 | 1.8353
AP-138 | 900 | 377 | 128 | 2.531
AP-139 | 1060 | 377 | 160 | 3.7836
AP-140 | 1170 | 376 | 110 | 1.8353
AP-141 | 1280 | 372 | 110 | 1.8353
AP-142 | 1390 | 370 | 110 | 1.8353
AP-143 | 1530 | 371 | 140 | 2.9205
AP-144 | 1650 | 373 | 120 | 2.1693
AP-145 | 1780 | 347 | 130 | 2.531
AP-146 | 1910 | 377 | 130 | 2.531
AP-147 | 2080 | 372 | 170 | 4.2573
AP-148 | 2220 | 371 | 140 | 2.9205
AP-149 | 2340 | 373 | 120 | 2.1693
AP-150 | 2520 | 373 | 180 | 4.7591
AP-151 | 2570 | 373 | 50 | 0.40771

## Tensionados
Cálculo mecánico para conductores de baja y media tensión
Características del conductor
Calibre | Sección transversal (mm^2) | Carga de rotura (Kg) | Peso neto (Kg/m) | Módulo de elasticidad (Kg/mm^2) | Coeficiente de dilatación (1/°C) | Diámetro externo (mm)
2/0 ECO | 88.74 | 2404 | 0.5486 | 8056 | 1.91e-05 | 16.6969
Vano (a) | Trabajo Diario |  | Fluencia |  |  | Flecha Mínima |  |  | Carga Máxima |  |  | Flecha Máxima
| T2 | UTS | T2 | Flecha (m) | UTS | T2 | Flecha (m) | UTS | T2 | Flecha (m) | UTS | T2 | Flecha (m) | UTS
10 | 496.75 | 25% | 689.0875 | 0.0099516 | 34.68% | 553.581 | 0.012388 | 27.86% | 553.5834 | 0.012393 | 27.86% | 392.6187 | 0.017466 | 19.76%
15 | 495.5812 | 24.94% | 686.6304 | 0.022471 | 34.56% | 552.4179 | 0.027931 | 27.8% | 552.4233 | 0.027942 | 27.8% | 394.8905 | 0.039073 | 19.87%
20 | 494.4124 | 24.88% | 683.247 | 0.040147 | 34.39% | 550.8397 | 0.049797 | 27.72% | 550.8491 | 0.049816 | 27.72% | 397.8264 | 0.06895 | 20.02%
25 | 493.2435 | 24.82% | 678.9931 | 0.063122 | 34.17% | 548.8931 | 0.078083 | 27.62% | 548.9075 | 0.078114 | 27.62% | 401.2451 | 0.10682 | 20.19%
30 | 492.0747 | 24.76% | 673.9394 | 0.091577 | 33.92% | 546.6331 | 0.1129 | 27.51% | 546.6534 | 0.11295 | 27.51% | 404.9745 | 0.1524 | 20.38%
35 | 490.9059 | 24.71% | 668.1699 | 0.12572 | 33.63% | 544.1204 | 0.15439 | 27.38% | 544.1474 | 0.15444 | 27.39% | 408.8671 | 0.20546 | 20.58%
40 | 489.7371 | 24.65% | 661.7807 | 0.1658 | 33.31% | 541.4175 | 0.20265 | 27.25% | 541.4518 | 0.20272 | 27.25% | 412.805 | 0.26579 | 20.78%
45 | 488.5682 | 24.59% | 654.8773 | 0.21205 | 32.96% | 538.5863 | 0.25783 | 27.11% | 538.6283 | 0.25792 | 27.11% | 416.6996 | 0.33325 | 20.97%
50 | 487.3994 | 24.53% | 647.5716 | 0.26474 | 32.59% | 535.6848 | 0.32003 | 26.96% | 535.7349 | 0.32014 | 26.96% | 420.4877 | 0.40771 | 21.16%
55 | 486.2306 | 24.47% | 639.9789 | 0.32413 | 32.21% | 532.7652 | 0.38936 | 26.81% | 532.8234 | 0.38948 | 26.82% | 424.1265 | 0.4891 | 21.35%
60 | 485.0618 | 24.41% | 632.2135 | 0.39049 | 31.82% | 529.8723 | 0.4659 | 26.67% | 529.9386 | 0.46604 | 26.67% | 427.5896 | 0.57735 | 21.52%
65 | 483.8929 | 24.35% | 624.3852 | 0.46402 | 31.42% | 527.0431 | 0.54973 | 26.52% | 527.1174 | 0.54988 | 26.53% | 430.8623 | 0.67244 | 21.68%
70 | 482.7241 | 24.29% | 616.5952 | 0.54496 | 31.03% | 524.3063 | 0.64088 | 26.39% | 524.3884 | 0.64104 | 26.39% | 433.9386 | 0.77434 | 21.84%
75 | 481.5553 | 24.24% | 608.9335 | 0.63346 | 30.65% | 521.6832 | 0.7394 | 26.25% | 521.7728 | 0.73958 | 26.26% | 436.8189 | 0.88305 | 21.98%
80 | 480.3865 | 24.18% | 601.4764 | 0.72967 | 30.27% | 519.1882 | 0.84532 | 26.13% | 519.285 | 0.84551 | 26.13% | 439.5078 | 0.99857 | 22.12%
85 | 479.2176 | 24.12% | 594.2853 | 0.8337 | 29.91% | 516.8299 | 0.95864 | 26.01% | 516.9333 | 0.95885 | 26.02% | 442.0125 | 1.1209 | 22.25%
90 | 478.0488 | 24.06% | 587.4066 | 0.94561 | 29.56% | 514.612 | 1.0794 | 25.9% | 514.7218 | 1.0796 | 25.9% | 444.3422 | 1.2501 | 22.36%
95 | 476.88 | 24% | 580.8726 | 1.0654 | 29.23% | 512.5346 | 1.2075 | 25.79% | 512.6503 | 1.2077 | 25.8% | 446.5067 | 1.3861 | 22.47%
100 | 475.7112 | 23.94% | 574.7024 | 1.1932 | 28.92% | 510.595 | 1.343 | 25.7% | 510.7162 | 1.3433 | 25.7% | 448.5167 | 1.5289 | 22.57%
105 | 474.5424 | 23.88% | 568.9045 | 1.3289 | 28.63% | 508.7884 | 1.486 | 25.61% | 508.9146 | 1.4862 | 25.61% | 450.3825 | 1.6787 | 22.67%
110 | 473.3735 | 23.82% | 563.4782 | 1.4726 | 28.36% | 507.1086 | 1.6363 | 25.52% | 507.2396 | 1.6365 | 25.53% | 452.1144 | 1.8353 | 22.75%
115 | 472.2047 | 23.76% | 558.4157 | 1.6241 | 28.1% | 505.5487 | 1.7939 | 25.44% | 505.684 | 1.7942 | 25.45% | 453.7224 | 1.9988 | 22.83%
120 | 471.0359 | 23.71% | 553.7043 | 1.7834 | 27.87% | 504.1013 | 1.9589 | 25.37% | 504.2406 | 1.9592 | 25.38% | 455.2158 | 2.1693 | 22.91%
125 | 469.8671 | 23.65% | 549.3275 | 1.9505 | 27.65% | 502.7588 | 2.1312 | 25.3% | 502.9018 | 2.1315 | 25.31% | 456.6034 | 2.3466 | 22.98%
130 | 468.6982 | 23.59% | 545.2667 | 2.1254 | 27.44% | 501.5137 | 2.3108 | 25.24% | 501.6601 | 2.3111 | 25.25% | 457.8935 | 2.531 | 23.04%
135 | 467.5294 | 23.53% | 541.5021 | 2.308 | 27.25% | 500.3589 | 2.4978 | 25.18% | 500.5084 | 2.4981 | 25.19% | 459.0938 | 2.7223 | 23.1%
140 | 466.3606 | 23.47% | 538.0135 | 2.4982 | 27.08% | 499.2873 | 2.692 | 25.13% | 499.4398 | 2.6923 | 25.14% | 460.2114 | 2.9205 | 23.16%
145 | 465.1918 | 23.41% | 534.781 | 2.696 | 26.91% | 498.2925 | 2.8935 | 25.08% | 498.4477 | 2.8938 | 25.09% | 461.2527 | 3.1258 | 23.21%
150 | 464.0229 | 23.35% | 531.7851 | 2.9014 | 26.76% | 497.3685 | 3.1022 | 25.03% | 497.5261 | 3.1025 | 25.04% | 462.2239 | 3.3381 | 23.26%
155 | 462.8541 | 23.29% | 529.0075 | 3.1143 | 26.62% | 496.5094 | 3.3182 | 24.99% | 496.6693 | 3.3185 | 25% | 463.1304 | 3.5573 | 23.31%
160 | 461.6853 | 23.24% | 526.4307 | 3.3348 | 26.49% | 495.7101 | 3.5414 | 24.95% | 495.8721 | 3.5417 | 24.96% | 463.9773 | 3.7836 | 23.35%
165 | 460.5165 | 23.18% | 524.0384 | 3.5626 | 26.37% | 494.9657 | 3.7719 | 24.91% | 495.1297 | 3.7722 | 24.92% | 464.7693 | 4.0169 | 23.39%
170 | 459.3476 | 23.12% | 521.8158 | 3.7979 | 26.26% | 494.2719 | 4.0096 | 24.88% | 494.4377 | 4.0099 | 24.88% | 465.5106 | 4.2573 | 23.43%
175 | 458.1788 | 23.06% | 519.7487 | 4.0406 | 26.16% | 493.6245 | 4.2545 | 24.84% | 493.792 | 4.2548 | 24.85% | 466.2051 | 4.5047 | 23.46%
180 | 457.01 | 23% | 517.8245 | 4.2907 | 26.06% | 493.0199 | 4.5066 | 24.81% | 493.1889 | 4.5069 | 24.82% | 466.8564 | 4.7591 | 23.5%
185 | 455.8412 | 22.94% | 516.0314 | 4.5481 | 25.97% | 492.4546 | 4.7659 | 24.78% | 492.6251 | 4.7662 | 24.79% | 467.4677 | 5.0206 | 23.53%
190 | 454.6724 | 22.88% | 514.3587 | 4.8129 | 25.89% | 491.9256 | 5.0324 | 24.76% | 492.0974 | 5.0327 | 24.77% | 468.0421 | 5.2892 | 23.56%
195 | 453.5035 | 22.82% | 512.7967 | 5.085 | 25.81% | 491.4299 | 5.3061 | 24.73% | 491.603 | 5.3064 | 24.74% | 468.5822 | 5.5648 | 23.58%
200 | 452.3347 | 22.76% | 511.3365 | 5.3644 | 25.73% | 490.9651 | 5.587 | 24.71% | 491.1394 | 5.5873 | 24.72% | 469.0905 | 5.8475 | 23.61%
205 | 451.1659 | 22.71% | 509.9699 | 5.651 | 25.67% | 490.5288 | 5.875 | 24.69% | 490.7041 | 5.8753 | 24.7% | 469.5694 | 6.1372 | 23.63%
210 | 449.9971 | 22.65% | 508.6896 | 5.945 | 25.6% | 490.1187 | 6.1703 | 24.67% | 490.2951 | 6.1706 | 24.68% | 470.021 | 6.4341 | 23.65%
215 | 448.8282 | 22.59% | 507.4887 | 6.2462 | 25.54% | 489.7331 | 6.4727 | 24.65% | 489.9104 | 6.473 | 24.66% | 470.4472 | 6.738 | 23.68%
220 | 447.6594 | 22.53% | 506.3613 | 6.5547 | 25.48% | 489.3699 | 6.7823 | 24.63% | 489.5482 | 6.7826 | 24.64% | 470.8497 | 7.049 | 23.7%
225 | 446.4906 | 22.47% | 505.3016 | 6.8704 | 25.43% | 489.0277 | 7.099 | 24.61% | 489.2068 | 7.0993 | 24.62% | 471.2302 | 7.3671 | 23.72%
230 | 445.3218 | 22.41% | 504.3045 | 7.1933 | 25.38% | 488.7048 | 7.4229 | 24.6% | 488.8848 | 7.4233 | 24.6% | 471.5903 | 7.6923 | 23.73%
235 | 444.1529 | 22.35% | 503.3655 | 7.5235 | 25.33% | 488.4 | 7.754 | 24.58% | 488.5807 | 7.7543 | 24.59% | 471.9312 | 8.0246 | 23.75%
240 | 442.9841 | 22.29% | 502.4802 | 7.8608 | 25.29% | 488.1119 | 8.0922 | 24.57% | 488.2933 | 8.0926 | 24.57% | 472.2543 | 8.364 | 23.77%
245 | 441.8153 | 22.24% | 501.6448 | 8.2054 | 25.25% | 487.8394 | 8.4376 | 24.55% | 488.0215 | 8.438 | 24.56% | 472.5607 | 8.7104 | 23.78%
250 | 440.6465 | 22.18% | 500.8556 | 8.5572 | 25.21% | 487.5815 | 8.7902 | 24.54% | 487.7642 | 8.7905 | 24.55% | 472.8515 | 9.064 | 23.8%
255 | 439.4776 | 22.12% | 500.1095 | 8.9162 | 25.17% | 487.337 | 9.1499 | 24.53% | 487.5203 | 9.1503 | 24.54% | 473.1277 | 9.4247 | 23.81%
260 | 438.3088 | 22.06% | 499.4034 | 9.2824 | 25.13% | 487.1052 | 9.5168 | 24.51% | 487.2891 | 9.5171 | 24.52% | 473.3903 | 9.7925 | 23.82%
265 | 437.14 | 22% | 498.7347 | 9.6558 | 25.1% | 486.8852 | 9.8908 | 24.5% | 487.0696 | 9.8911 | 24.51% | 473.6401 | 10.1674 | 23.84%
270 | 435.9712 | 21.94% | 498.1007 | 10.0364 | 25.07% | 486.6762 | 10.272 | 24.49% | 486.8612 | 10.2723 | 24.5% | 473.8778 | 10.5494 | 23.85%
275 | 434.8024 | 21.88% | 497.4991 | 10.4241 | 25.04% | 486.4776 | 10.6603 | 24.48% | 486.663 | 10.6606 | 24.49% | 474.1043 | 10.9385 | 23.86%
280 | 433.6335 | 21.82% | 496.9279 | 10.819 | 25.01% | 486.2887 | 11.0557 | 24.47% | 486.4745 | 11.0561 | 24.48% | 474.3201 | 11.3347 | 23.87%
285 | 432.4647 | 21.76% | 496.3851 | 11.2211 | 24.98% | 486.1088 | 11.4583 | 24.46% | 486.2951 | 11.4587 | 24.47% | 474.526 | 11.738 | 23.88%
290 | 431.2959 | 21.71% | 495.8688 | 11.6304 | 24.96% | 485.9374 | 11.8681 | 24.46% | 486.1242 | 11.8685 | 24.47% | 474.7225 | 12.1485 | 23.89%
295 | 430.1271 | 21.65% | 495.3774 | 12.0469 | 24.93% | 485.7741 | 12.285 | 24.45% | 485.9612 | 12.2854 | 24.46% | 474.9101 | 12.566 | 23.9%
300 | 428.9582 | 21.59% | 494.9093 | 12.4705 | 24.91% | 485.6182 | 12.7091 | 24.44% | 485.8057 | 12.7094 | 24.45% | 475.0895 | 12.9907 | 23.91%
305 | 427.7894 | 21.53% | 494.4632 | 12.9012 | 24.88% | 485.4695 | 13.1402 | 24.43% | 485.6573 | 13.1406 | 24.44% | 475.2609 | 13.4225 | 23.92%
310 | 426.6206 | 21.47% | 494.0376 | 13.3392 | 24.86% | 485.3274 | 13.5786 | 24.43% | 485.5156 | 13.5789 | 24.43% | 475.425 | 13.8614 | 23.93%
315 | 425.4518 | 21.41% | 493.6313 | 13.7843 | 24.84% | 485.1916 | 14.0241 | 24.42% | 485.3801 | 14.0244 | 24.43% | 475.582 | 14.3074 | 23.93%
320 | 424.2829 | 21.35% | 493.2433 | 14.2365 | 24.82% | 485.0617 | 14.4767 | 24.41% | 485.2505 | 14.477 | 24.42% | 475.7325 | 14.7606 | 23.94%
325 | 423.1141 | 21.29% | 492.8724 | 14.696 | 24.8% | 484.9373 | 14.9364 | 24.41% | 485.1265 | 14.9368 | 24.42% | 475.8766 | 15.2208 | 23.95%
330 | 421.9453 | 21.24% | 492.5177 | 15.1625 | 24.79% | 484.8183 | 15.4033 | 24.4% | 485.0077 | 15.4037 | 24.41% | 476.0148 | 15.6882 | 23.96%
335 | 420.7765 | 21.18% | 492.1782 | 15.6363 | 24.77% | 484.7043 | 15.8774 | 24.39% | 484.894 | 15.8777 | 24.4% | 476.1475 | 16.1627 | 23.96%
340 | 419.6076 | 21.12% | 491.8532 | 16.1171 | 24.75% | 484.5949 | 16.3585 | 24.39% | 484.7849 | 16.3589 | 24.4% | 476.2747 | 16.6443 | 23.97%
345 | 418.4388 | 21.06% | 491.5417 | 16.6052 | 24.74% | 484.49 | 16.8469 | 24.38% | 484.6803 | 16.8472 | 24.39% | 476.397 | 17.1331 | 23.98%
350 | 417.27 | 21% | 491.2431 | 17.1004 | 24.72% | 484.3894 | 17.3423 | 24.38% | 484.5799 | 17.3427 | 24.39% | 476.5144 | 17.6289 | 23.98%
355 | 416.1012 | 20.94% | 490.9567 | 17.6027 | 24.71% | 484.2928 | 17.8449 | 24.37% | 484.4834 | 17.8453 | 24.38% | 476.6273 | 18.1319 | 23.99%
360 | 414.9324 | 20.88% | 490.6819 | 18.1122 | 24.69% | 484.1999 | 18.3546 | 24.37% | 484.3908 | 18.355 | 24.38% | 476.7359 | 18.642 | 23.99%
365 | 413.7635 | 20.82% | 490.4179 | 18.6288 | 24.68% | 484.1107 | 18.8715 | 24.36% | 484.3018 | 18.8719 | 24.37% | 476.8404 | 19.1592 | 24%
370 | 412.5947 | 20.76% | 490.1643 | 19.1526 | 24.67% | 484.0249 | 19.3955 | 24.36% | 484.2162 | 19.3959 | 24.37% | 476.941 | 19.6836 | 24%
375 | 411.4259 | 20.71% | 489.9205 | 19.6835 | 24.66% | 483.9423 | 19.9267 | 24.36% | 484.1339 | 19.927 | 24.37% | 477.0378 | 20.2151 | 24.01%
380 | 410.2571 | 20.65% | 489.6861 | 20.2216 | 24.64% | 483.8629 | 20.465 | 24.35% | 484.0546 | 20.4653 | 24.36% | 477.1312 | 20.7537 | 24.01%
385 | 409.0882 | 20.59% | 489.4605 | 20.7668 | 24.63% | 483.7864 | 21.0104 | 24.35% | 483.9783 | 21.0107 | 24.36% | 477.2211 | 21.2994 | 24.02%
390 | 407.9194 | 20.53% | 489.2433 | 21.3192 | 24.62% | 483.7127 | 21.5629 | 24.34% | 483.9047 | 21.5633 | 24.35% | 477.3078 | 21.8523 | 24.02%
395 | 406.7506 | 20.47% | 489.0342 | 21.8787 | 24.61% | 483.6416 | 22.1226 | 24.34% | 483.8338 | 22.123 | 24.35% | 477.3915 | 22.4122 | 24.03%
400 | 405.5818 | 20.41% | 488.8327 | 22.4453 | 24.6% | 483.5731 | 22.6894 | 24.34% | 483.7655 | 22.6898 | 24.35% | 477.4722 | 22.9793 | 24.03%
405 | 404.4129 | 20.35% | 488.6384 | 23.0191 | 24.59% | 483.507 | 23.2634 | 24.33% | 483.6996 | 23.2638 | 24.34% | 477.5502 | 23.5536 | 24.03%
410 | 403.2441 | 20.29% | 488.4511 | 23.6 | 24.58% | 483.4432 | 23.8445 | 24.33% | 483.6359 | 23.8448 | 24.34% | 477.6255 | 24.1349 | 24.04%
415 | 402.0753 | 20.24% | 488.2704 | 24.1881 | 24.57% | 483.3817 | 24.4327 | 24.33% | 483.5745 | 24.4331 | 24.34% | 477.6982 | 24.7234 | 24.04%
420 | 400.9065 | 20.18% | 488.0959 | 24.7833 | 24.56% | 483.3222 | 25.0281 | 24.32% | 483.5152 | 25.0284 | 24.33% | 477.7685 | 25.319 | 24.04%
425 | 399.7376 | 20.12% | 487.9275 | 25.3857 | 24.56% | 483.2648 | 25.6306 | 24.32% | 483.4579 | 25.6309 | 24.33% | 477.8365 | 25.9218 | 24.05%
430 | 398.5688 | 20.06% | 487.7648 | 25.9951 | 24.55% | 483.2092 | 26.2402 | 24.32% | 483.4025 | 26.2406 | 24.33% | 477.9022 | 26.5316 | 24.05%
435 | 397.4 | 20% | 487.6076 | 26.6118 | 24.54% | 483.1556 | 26.857 | 24.32% | 483.3489 | 26.8573 | 24.33% | 477.9658 | 27.1486 | 24.05%
440 | 396.2312 | 19.94% | 487.4556 | 27.2355 | 24.53% | 483.1036 | 27.4809 | 24.31% | 483.2971 | 27.4813 | 24.32% | 478.0274 | 27.7727 | 24.06%
445 | 395.0624 | 19.88% | 487.3087 | 27.8665 | 24.52% | 483.0534 | 28.1119 | 24.31% | 483.247 | 28.1123 | 24.32% | 478.087 | 28.404 | 24.06%
450 | 393.8935 | 19.82% | 487.1665 | 28.5045 | 24.52% | 483.0048 | 28.7501 | 24.31% | 483.1985 | 28.7505 | 24.32% | 478.1447 | 29.0423 | 24.06%
455 | 392.7247 | 19.76% | 487.0289 | 29.1497 | 24.51% | 482.9577 | 29.3954 | 24.31% | 483.1515 | 29.3958 | 24.32% | 478.2006 | 29.6878 | 24.07%
460 | 391.5559 | 19.71% | 486.8957 | 29.802 | 24.5% | 482.9121 | 30.0479 | 24.3% | 483.106 | 30.0482 | 24.31% | 478.2548 | 30.3405 | 24.07%
465 | 390.3871 | 19.65% | 486.7667 | 30.4615 | 24.5% | 482.8679 | 30.7074 | 24.3% | 483.0619 | 30.7078 | 24.31% | 478.3073 | 31.0002 | 24.07%
470 | 389.2182 | 19.59% | 486.6418 | 31.1281 | 24.49% | 482.8251 | 31.3741 | 24.3% | 483.0192 | 31.3745 | 24.31% | 478.3583 | 31.6671 | 24.07%
475 | 388.0494 | 19.53% | 486.5207 | 31.8018 | 24.49% | 482.7835 | 32.048 | 24.3% | 482.9778 | 32.0483 | 24.31% | 478.4077 | 32.3411 | 24.08%
480 | 386.8806 | 19.47% | 486.4033 | 32.4827 | 24.48% | 482.7433 | 32.7289 | 24.3% | 482.9376 | 32.7293 | 24.3% | 478.4556 | 33.0222 | 24.08%
485 | 385.7118 | 19.41% | 486.2895 | 33.1707 | 24.47% | 482.7042 | 33.4171 | 24.29% | 482.8986 | 33.4174 | 24.3% | 478.5022 | 33.7105 | 24.08%
490 | 384.5429 | 19.35% | 486.1791 | 33.8658 | 24.47% | 482.6663 | 34.1123 | 24.29% | 482.8608 | 34.1127 | 24.3% | 478.5473 | 34.4059 | 24.08%
495 | 383.3741 | 19.29% | 486.072 | 34.5681 | 24.46% | 482.6295 | 34.8147 | 24.29% | 482.8241 | 34.815 | 24.3% | 478.5912 | 35.1084 | 24.09%
500 | 382.2053 | 19.24% | 485.9681 | 35.2775 | 24.46% | 482.5938 | 35.5242 | 24.29% | 482.7885 | 35.5245 | 24.3% | 478.6338 | 35.8181 | 24.09%
505 | 381.0365 | 19.18% | 485.8672 | 35.9941 | 24.45% | 482.5591 | 36.2408 | 24.29% | 482.7539 | 36.2412 | 24.3% | 478.6752 | 36.5349 | 24.09%
510 | 379.8676 | 19.12% | 485.7692 | 36.7178 | 24.45% | 482.5254 | 36.9646 | 24.28% | 482.7203 | 36.965 | 24.29% | 478.7155 | 37.2588 | 24.09%
515 | 378.6988 | 19.06% | 485.674 | 37.4486 | 24.44% | 482.4927 | 37.6955 | 24.28% | 482.6876 | 37.6959 | 24.29% | 478.7546 | 37.9898 | 24.09%
520 | 377.53 | 19% | 485.5815 | 38.1865 | 24.44% | 482.4609 | 38.4335 | 24.28% | 482.6559 | 38.4339 | 24.29% | 478.7926 | 38.728 | 24.1%
525 | 376.3612 | 18.94% | 485.4916 | 38.9316 | 24.43% | 482.4299 | 39.1787 | 24.28% | 482.625 | 39.1791 | 24.29% | 478.8296 | 39.4733 | 24.1%
530 | 375.1924 | 18.88% | 485.4042 | 39.6839 | 24.43% | 482.3998 | 39.931 | 24.28% | 482.595 | 39.9314 | 24.29% | 478.8656 | 40.2257 | 24.1%
535 | 374.0235 | 18.82% | 485.3192 | 40.4432 | 24.42% | 482.3706 | 40.6905 | 24.28% | 482.5658 | 40.6908 | 24.29% | 478.9007 | 40.9853 | 24.1%
540 | 372.8547 | 18.76% | 485.2366 | 41.2097 | 24.42% | 482.3421 | 41.457 | 24.27% | 482.5374 | 41.4574 | 24.28% | 478.9348 | 41.752 | 24.1%
545 | 371.6859 | 18.71% | 485.1562 | 41.9834 | 24.42% | 482.3144 | 42.2307 | 24.27% | 482.5097 | 42.2311 | 24.28% | 478.9679 | 42.5258 | 24.11%
550 | 370.5171 | 18.65% | 485.0779 | 42.7641 | 24.41% | 482.2874 | 43.0116 | 24.27% | 482.4828 | 43.0119 | 24.28% | 479.0003 | 43.3067 | 24.11%
555 | 369.3482 | 18.59% | 485.0017 | 43.552 | 24.41% | 482.2611 | 43.7995 | 24.27% | 482.4566 | 43.7999 | 24.28% | 479.0317 | 44.0948 | 24.11%
560 | 368.1794 | 18.53% | 484.9276 | 44.3471 | 24.41% | 482.2355 | 44.5946 | 24.27% | 482.4311 | 44.595 | 24.28% | 479.0624 | 44.89 | 24.11%
565 | 367.0106 | 18.47% | 484.8554 | 45.1492 | 24.4% | 482.2106 | 45.3969 | 24.27% | 482.4062 | 45.3972 | 24.28% | 479.0923 | 45.6924 | 24.11%
570 | 365.8418 | 18.41% | 484.785 | 45.9586 | 24.4% | 482.1863 | 46.2062 | 24.27% | 482.382 | 46.2066 | 24.28% | 479.1214 | 46.5018 | 24.11%
575 | 364.6729 | 18.35% | 484.7165 | 46.775 | 24.39% | 482.1627 | 47.0227 | 24.27% | 482.3584 | 47.0231 | 24.28% | 479.1498 | 47.3184 | 24.11%
580 | 363.5041 | 18.29% | 484.6497 | 47.5986 | 24.39% | 482.1396 | 47.8464 | 24.26% | 482.3354 | 47.8467 | 24.27% | 479.1775 | 48.1421 | 24.12%
585 | 362.3353 | 18.24% | 484.5846 | 48.4293 | 24.39% | 482.1171 | 48.6771 | 24.26% | 482.3129 | 48.6775 | 24.27% | 479.2045 | 48.973 | 24.12%
590 | 361.1665 | 18.18% | 484.5212 | 49.2671 | 24.38% | 482.0952 | 49.515 | 24.26% | 482.2911 | 49.5154 | 24.27% | 479.2308 | 49.811 | 24.12%
595 | 359.9976 | 18.12% | 484.4593 | 50.1121 | 24.38% | 482.0738 | 50.3601 | 24.26% | 482.2697 | 50.3604 | 24.27% | 479.2565 | 50.6561 | 24.12%
600 | 358.8288 | 18.06% | 484.3989 | 50.9642 | 24.38% | 482.053 | 51.2122 | 24.26% | 482.2489 | 51.2126 | 24.27% | 479.2816 | 51.5083 | 24.12%
605 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
610 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
615 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
620 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
625 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
630 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
635 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
640 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
645 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
650 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
655 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
660 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
665 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
670 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
675 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
680 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
685 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
690 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
695 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
700 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
705 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
710 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
715 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
720 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
725 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
730 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
735 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
740 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
745 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
750 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
755 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
760 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
765 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
770 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
775 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
780 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
785 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
790 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
795 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
800 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
805 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
810 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
815 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
820 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
825 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
830 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
835 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
840 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
845 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
850 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
855 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
860 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
865 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
870 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
875 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
880 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
885 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
890 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
895 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
900 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
905 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
910 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
915 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
920 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
925 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
930 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
935 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
940 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
945 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
950 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
955 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
960 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
965 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
970 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
975 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
980 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
985 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
990 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
995 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1005 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1010 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1015 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1020 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1025 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1030 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1035 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1040 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1045 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1050 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1055 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1060 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1065 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1070 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1075 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1080 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1085 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1090 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1095 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1100 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1105 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1110 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1115 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1120 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1125 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1130 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1135 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1140 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1145 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1150 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1155 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1160 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1165 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1170 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1175 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1180 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1185 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1190 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1195 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1200 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1205 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1210 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1215 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1220 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1225 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1230 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1235 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1240 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1245 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1250 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1255 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1260 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1265 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1270 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1275 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1280 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1285 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1290 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1295 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1305 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1310 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1315 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1325 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1330 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1335 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1340 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1345 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1350 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1355 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1360 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1365 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1370 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1375 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1380 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1385 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1390 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1395 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1400 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1405 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1410 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1415 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1420 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1425 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1430 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1435 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1440 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1445 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1450 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1455 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1460 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1465 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1470 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1475 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1480 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1485 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1490 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1495 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1500 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 100 | #REF! | #REF!